## XL.1 WindCAD
MODEL PERFORMANSE VETROGENERATORA
MUS SWG1000 verzija punjenja akumulatora [precnik rotora 2.5m]
Podatke uneo: | Vase ime
Lokacija: | vasa lokacija
Izvor podataka: | Vas izvor
Datum: | 2008-11-05 21:09
Ulazni podaci: |  | Rezultat:
Prosecna brz.vetra [m/s] = | 4 |  | sektor prosecna brzina vetra (m/s) = | 4.5479 | 1 m/s = 3.5999 km/h
Prosecna mesecna brzina [K] = | 2 |  | faktor gustine vazduha = | -0.0918%
Nadmorska visina [m] = | 10 |  | prosecna izlazna snaga (W) = | 169.9113
vetar strmost Exp. = | 0.2 |  | dnevni energijski izlaz (kWh) = | 3.6701
visina anemometra [m] = | 10 |  | godisnji energijski izlaz (kWh) = | 1339.5803
visina tornja[m] = | 19 |  | mesecni energijski izlaz(kWh) = | 111.6317
faktor turbulencije = | 0% |  | procenat vremena rada = | 78.84%
faktor sigurnosti = | 10%
brzina vetra (m/s) | snaga (W) | verovatoca vetra (f) | Net W @ V
1 | 0 | 7.372% | 0
2 | 1.9982 | 13.14% | 0.26262
3 | 21.9798 | 16.28% | 3.578
4 | 59.9449 | 16.6% | 9.9515
5 | 124.8852 | 14.7% | 18.3599
6 | 229.7889 | 11.58% | 26.6023
7 | 374.6558 | 8.21% | 30.7577
8 | 529.5135 | 5.282% | 27.9712
9 | 699.3574 | 3.099% | 21.6742
10 | 879.1922 | 1.663% | 14.6244
11 | 1069.0177 | 0.8187% | 8.7519
12 | 1198.8984 | 0.3701% | 4.4376
13 | 1228.8709 | 0.1539% | 1.8916
14 | 1198.8984 | 0.05895% | 0.70671
15 | 1148.9443 | 0.0208% | 0.239
16 | 1093.9948 | 0.006769% | 0.074054
17 | 1039.0453 | 0.002032% | 0.021117
18 | 989.0912 | 0.0005633% | 0.0055712
19 | 939.1371 | 0.0001441% | 0.0013538
20 | 889.183 | 3.408e-05% | 0.00030299
MUS corp doo | Ukupno: | 99.36% | 169.9113
racunice: Verovatnoca (relativnost) brzine vetra se racuna tako sto se Weibull funkcija definise prema prosecnoj brzini vetra, i faktoru oblika, K. Da bi olaksali kalkulaciju, brzina vetra je podeljena na nekoliko sektora od 1 m/s (kolona 1).Sektor snage vetra (W, kolona 2) je pomnozen Weibullovom konstantom brzine vetra (f. Kolona 3). Kontra efekat (net w, kolona 4) je dodat prosecnoj izlaznoj snazi turbine, koji dobijamo od brzine vetra u tom sektoru. Suma ovih vrednosti je prosecna snaga izlaza turbine, na 24-oro casovnoj osnovi. Najbolji rezultat se ostvaruje kada se meri prosecna mesecna brzina vetra. Ne preporucuje se merenje dnevno ili po satu.
Uputstva: Ulazne informacije: Koristiti prosecnu mesecnu brzinu vetra K. Ukoliko ona nije poznata, uzeti za meru K sledece vrednosti: 2 (za kopnena mesta), 3 (za mesta blizu obale), 4 (za ostrvska mesta). „vetar strmost“ tu je najbolje staviti 0.18. Ukoliko je grub terena ili ako su turbulencije jake, staviti 0.22. Za svaki ravan teren, ili otvoreno more staviti 0.110. Visina vetrometra je za podatke koji se koriste za prosecnu brzinu vetra. Ukoliko je nepoznato, staviti vrednost 10. Visina tornja zavisi od konstrukcije, do konstukcije. Primera radi: 24 metra. Faktor turbulencije zavisi od mnogih stvari, te staviti 0.00 (0%) - 0.05 (5%) u vecini slucajeva. U faktor sigurnosti staviti: 0.05 (5%) za vikend kuce, seoske kuce sa back-up (podrska) strujom. 0.15 (15%) - 0.25 (25%) za telekomunikacione „aplikacije“, sa back-up (podrska) strujom. 0.2 (20%) - 0.4 (40%) za visoko prioritetne lokacije bez back-up (podrska) struje. (trebalo bi da imaju solarne komponente) Rezultati: Stvarni rezultati mogu da variraju!
1 kW

## Sheet1 (hidden)
Manufacturer: | Bergey
Faktor konverzije
Turbine: | BWC XL. 1, 2.5m rotor |  | 1 m/s = 3.5999971200023 Km/h
Rated: | 1 |  | Cut-In Speed [mph]
4.5
Windspeed Units: | m/s, MPH
Cut-Out Speed [mph]
Power Units: | kW |  | 44.7
Air Density: | 1.225 kg/m3
Turbulence: | .00
1.6093
Temperature: | 0 F
Elevation: | 0 FT |  |  |  |  | Scale To: | 1
Manufacturer's Power Curve Table |  |  | Derived Power Curve Table |  |  | Scaled Power Curve Table
Brzina vetra[m/sec} | Brzina vetra[Km/h} | Snaga [kW] | Brzina vetra [MPH] | Snaga [kW] | Brzina vetra[Km/h} | Windspeed [MPH] | Power [kW]
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 3.6 | 0 | 0.1 | 0 | 0.16093 | 0.1 | 0
2 | 7.2 | 0.002 | 0.2 | 0 | 0.32187 | 0.2 | 0
3 | 10.8 | 0.022 | 0.3 | 0 | 0.4828 | 0.3 | 0
4 | 14.4 | 0.06 | 0.4 | 0 | 0.64374 | 0.4 | 0
5 | 18 | 0.125 | 0.5 | 0 | 0.80467 | 0.5 | 0
6 | 21.6 | 0.23 | 0.6 | 0 | 0.96561 | 0.6 | 0
7 | 25.2 | 0.375 | 0.7 | 0 | 1.1265 | 0.7 | 0
8 | 28.8 | 0.53 | 0.8 | 0 | 1.2875 | 0.8 | 0
9 | 32.4 | 0.7 | 0.9 | 0 | 1.4484 | 0.9 | 0
10 | 36 | 0.88 | 1 | 0 | 1.6093 | 1 | 0
11 | 39.6 | 1.07 | 1.1 | 0 | 1.7703 | 1.1 | 0
12 | 43.2 | 1.2 | 1.2 | 0 | 1.9312 | 1.2 | 0
13 | 46.8 | 1.23 | 1.3 | 0 | 2.0921 | 1.3 | 0
14 | 50.4 | 1.2 | 1.4 | 0 | 2.2531 | 1.4 | 0
15 | 54 | 1.15 | 1.5 | 0 | 2.414 | 1.5 | 0
16 | 57.6 | 1.095 | 1.6 | 0 | 2.5749 | 1.6 | 0
17 | 61.2 | 1.04 | 1.7 | 0 | 2.7359 | 1.7 | 0
18 | 64.8 | 0.99 | 1.8 | 0 | 2.8968 | 1.8 | 0
19 | 68.4 | 0.94 | 1.9 | 0 | 3.0578 | 1.9 | 0
20 | 72 | 0.89 | 2 | 0 | 3.2187 | 2 | 0
21 | 75.6 | 0 | 2.1 | 0 | 3.3796 | 2.1 | 0
22 | 79.2 | 0 | 2.2 | 0 | 3.5406 | 2.2 | 0
23 | 82.8 | 0 | 2.3 | 0 | 3.7015 | 2.3 | 0
24 | 86.4 | 0 | 2.4 | 0 | 3.8624 | 2.4 | 0
25 | 90 | 0 | 2.5 | 0 | 4.0234 | 2.5 | 0
26 | 93.6 | 0 | 2.6 | 0 | 4.1843 | 2.6 | 0
27 | 97.2 | 0 | 2.7 | 0 | 4.3452 | 2.7 | 0
28 | 100.8 | 0 | 2.8 | 0 | 4.5062 | 2.8 | 0
29 | 104.4 | 0 | 2.9 | 0 | 4.6671 | 2.9 | 0 | NOTE:
30 | 108 | 0 | 3 | 0 | 4.828 | 3 | 0 | Data is converted to MPH from manufacturer's data of whole m/s and then interpolated linearly at every .1 MPH.
|  |  | 3.1 | 0 | 4.989 | 3.1 | 0 | Convert source data of graphs to read from current page.
|  |  | 3.2 | 0 | 5.1499 | 3.2 | 0 | Enter manufacturer's data into table; derived table and graphs will fill automatically.
|  |  | 3.3 | 0 | 5.3108 | 3.3 | 0 | Data obtained from manufacturer's data.
|  |  | 3.4 | 0 | 5.4718 | 3.4 | 0
|  |  | 3.5 | 0 | 5.6327 | 3.5 | 0
|  |  | 3.6 | 0 | 5.7936 | 3.6 | 0
|  |  | 3.7 | 0 | 5.9546 | 3.7 | 0
|  |  | 3.8 | 0 | 6.1155 | 3.8 | 0
|  |  | 3.9 | 0 | 6.2764 | 3.9 | 0
|  |  | 4 | 0 | 6.4374 | 4 | 0
|  |  | 4.1 | 0 | 6.5983 | 4.1 | 0
|  |  | 4.2 | 0 | 6.7592 | 4.2 | 0
|  |  | 4.3 | 0 | 6.9202 | 4.3 | 0
|  |  | 4.4 | 0 | 7.0811 | 4.4 | 0
|  |  | 4.5 | 0 | 7.242 | 4.5 | 0
|  |  | 4.6 | 0 | 7.403 | 4.6 | 0
|  |  | 4.7 | 0 | 7.5639 | 4.7 | 0
|  |  | 4.8 | 0 | 7.7248 | 4.8 | 0
|  |  | 4.9 | 0 | 7.8858 | 4.9 | 0
|  |  | 5 | 0 | 8.0467 | 5 | 0
|  |  | 5.1 | 0 | 8.2076 | 5.1 | 0
|  |  | 5.2 | 0 | 8.3686 | 5.2 | 0
|  |  | 5.3 | 0 | 8.5295 | 5.3 | 0
|  |  | 5.4 | 0 | 8.6905 | 5.4 | 0
|  |  | 5.5 | 0 | 8.8514 | 5.5 | 0
|  |  | 5.6 | 0 | 9.0123 | 5.6 | 0
|  |  | 5.7 | 0 | 9.1733 | 5.7 | 0
|  |  | 5.8 | 0 | 9.3342 | 5.8 | 0
|  |  | 5.9 | 0 | 9.4951 | 5.9 | 0
|  |  | 6 | 0 | 9.6561 | 6 | 0
|  |  | 6.1 | 0 | 9.817 | 6.1 | 0
|  |  | 6.2 | 0 | 9.9779 | 6.2 | 0
|  |  | 6.3 | 0 | 10.1389 | 6.3 | 0
|  |  | 6.4 | 0 | 10.2998 | 6.4 | 0
|  |  | 6.5 | 0 | 10.4607 | 6.5 | 0
|  |  | 6.6 | 0 | 10.6217 | 6.6 | 0
|  |  | 6.7 | 0 | 10.7826 | 6.7 | 0
|  |  | 6.8 | 9.0909e-05 | 10.9435 | 6.8 | 9.0909e-05
|  |  | 6.9 | 0.00018182 | 11.1045 | 6.9 | 0.00018182
|  |  | 7 | 0.00027273 | 11.2654 | 7 | 0.00027273
|  |  | 7.1 | 0.00036364 | 11.4263 | 7.1 | 0.00036364
|  |  | 7.2 | 0.00045455 | 11.5873 | 7.2 | 0.00045455
|  |  | 7.3 | 0.00054545 | 11.7482 | 7.3 | 0.00054545
|  |  | 7.4 | 0.00063636 | 11.9091 | 7.4 | 0.00063636
|  |  | 7.5 | 0.00072727 | 12.0701 | 7.5 | 0.00072727
|  |  | 7.6 | 0.00081818 | 12.231 | 7.6 | 0.00081818
|  |  | 7.7 | 0.00090909 | 12.3919 | 7.7 | 0.00090909
|  |  | 7.8 | 0.001 | 12.5529 | 7.8 | 0.001
|  |  | 7.9 | 0.0010909 | 12.7138 | 7.9 | 0.0010909
|  |  | 8 | 0.0011818 | 12.8747 | 8 | 0.0011818
|  |  | 8.1 | 0.0012727 | 13.0357 | 8.1 | 0.0012727
|  |  | 8.2 | 0.0013636 | 13.1966 | 8.2 | 0.0013636
|  |  | 8.3 | 0.0014545 | 13.3575 | 8.3 | 0.0014545
|  |  | 8.4 | 0.0015455 | 13.5185 | 8.4 | 0.0015455
|  |  | 8.5 | 0.0016364 | 13.6794 | 8.5 | 0.0016364
|  |  | 8.6 | 0.0017273 | 13.8403 | 8.6 | 0.0017273
|  |  | 8.7 | 0.0018182 | 14.0013 | 8.7 | 0.0018182
|  |  | 8.8 | 0.0019091 | 14.1622 | 8.8 | 0.0019091
|  |  | 8.9 | 0.002 | 14.3232 | 8.9 | 0.002
|  |  | 9 | 0.0028696 | 14.4841 | 9 | 0.0028696
|  |  | 9.1 | 0.0037391 | 14.645 | 9.1 | 0.0037391
|  |  | 9.2 | 0.0046087 | 14.806 | 9.2 | 0.0046087
|  |  | 9.3 | 0.0054783 | 14.9669 | 9.3 | 0.0054783
|  |  | 9.4 | 0.0063478 | 15.1278 | 9.4 | 0.0063478
|  |  | 9.5 | 0.0072174 | 15.2888 | 9.5 | 0.0072174
|  |  | 9.6 | 0.008087 | 15.4497 | 9.6 | 0.008087
|  |  | 9.7 | 0.0089565 | 15.6106 | 9.7 | 0.0089565
|  |  | 9.8 | 0.0098261 | 15.7716 | 9.8 | 0.0098261
|  |  | 9.9 | 0.010696 | 15.9325 | 9.9 | 0.010696
|  |  | 10 | 0.011565 | 16.0934 | 10 | 0.011565
|  |  | 10.1 | 0.012435 | 16.2544 | 10.1 | 0.012435
|  |  | 10.2 | 0.013304 | 16.4153 | 10.2 | 0.013304
|  |  | 10.3 | 0.014174 | 16.5762 | 10.3 | 0.014174
|  |  | 10.4 | 0.015043 | 16.7372 | 10.4 | 0.015043
|  |  | 10.5 | 0.015913 | 16.8981 | 10.5 | 0.015913
|  |  | 10.6 | 0.016783 | 17.059 | 10.6 | 0.016783
|  |  | 10.7 | 0.017652 | 17.22 | 10.7 | 0.017652
|  |  | 10.8 | 0.018522 | 17.3809 | 10.8 | 0.018522
|  |  | 10.9 | 0.019391 | 17.5418 | 10.9 | 0.019391
|  |  | 11 | 0.020261 | 17.7028 | 11 | 0.020261
|  |  | 11.1 | 0.02113 | 17.8637 | 11.1 | 0.02113
|  |  | 11.2 | 0.022 | 18.0246 | 11.2 | 0.022
|  |  | 11.3 | 0.022 | 18.1856 | 11.3 | 0.022
|  |  | 11.4 | 0.022 | 18.3465 | 11.4 | 0.022
|  |  | 11.5 | 0.022 | 18.5074 | 11.5 | 0.022
|  |  | 11.6 | 0.022 | 18.6684 | 11.6 | 0.022
|  |  | 11.7 | 0.022 | 18.8293 | 11.7 | 0.022
|  |  | 11.8 | 0.022 | 18.9902 | 11.8 | 0.022
|  |  | 11.9 | 0.022 | 19.1512 | 11.9 | 0.022
|  |  | 12 | 0.022 | 19.3121 | 12 | 0.022
|  |  | 12.1 | 0.022 | 19.473 | 12.1 | 0.022
|  |  | 12.2 | 0.022 | 19.634 | 12.2 | 0.022
|  |  | 12.3 | 0.022 | 19.7949 | 12.3 | 0.022
|  |  | 12.4 | 0.022 | 19.9558 | 12.4 | 0.022
|  |  | 12.5 | 0.022 | 20.1168 | 12.5 | 0.022
|  |  | 12.6 | 0.022 | 20.2777 | 12.6 | 0.022
|  |  | 12.7 | 0.022 | 20.4387 | 12.7 | 0.022
|  |  | 12.8 | 0.022 | 20.5996 | 12.8 | 0.022
|  |  | 12.9 | 0.022 | 20.7605 | 12.9 | 0.022
|  |  | 13 | 0.022 | 20.9215 | 13 | 0.022
|  |  | 13.1 | 0.022 | 21.0824 | 13.1 | 0.022
|  |  | 13.2 | 0.022 | 21.2433 | 13.2 | 0.022
|  |  | 13.3 | 0.022 | 21.4043 | 13.3 | 0.022
|  |  | 13.4 | 0.022 | 21.5652 | 13.4 | 0.022
|  |  | 13.5 | 0.023652 | 21.7261 | 13.5 | 0.023652
|  |  | 13.6 | 0.025304 | 21.8871 | 13.6 | 0.025304
|  |  | 13.7 | 0.026957 | 22.048 | 13.7 | 0.026957
|  |  | 13.8 | 0.028609 | 22.2089 | 13.8 | 0.028609
|  |  | 13.9 | 0.030261 | 22.3699 | 13.9 | 0.030261
|  |  | 14 | 0.031913 | 22.5308 | 14 | 0.031913
|  |  | 14.1 | 0.033565 | 22.6917 | 14.1 | 0.033565
|  |  | 14.2 | 0.035217 | 22.8527 | 14.2 | 0.035217
|  |  | 14.3 | 0.03687 | 23.0136 | 14.3 | 0.03687
|  |  | 14.4 | 0.038522 | 23.1745 | 14.4 | 0.038522
|  |  | 14.5 | 0.040174 | 23.3355 | 14.5 | 0.040174
|  |  | 14.6 | 0.041826 | 23.4964 | 14.6 | 0.041826
|  |  | 14.7 | 0.043478 | 23.6573 | 14.7 | 0.043478
|  |  | 14.8 | 0.04513 | 23.8183 | 14.8 | 0.04513
|  |  | 14.9 | 0.046783 | 23.9792 | 14.9 | 0.046783
|  |  | 15 | 0.048435 | 24.1401 | 15 | 0.048435
|  |  | 15.1 | 0.050087 | 24.3011 | 15.1 | 0.050087
|  |  | 15.2 | 0.051739 | 24.462 | 15.2 | 0.051739
|  |  | 15.3 | 0.053391 | 24.6229 | 15.3 | 0.053391
|  |  | 15.4 | 0.055043 | 24.7839 | 15.4 | 0.055043
|  |  | 15.5 | 0.056696 | 24.9448 | 15.5 | 0.056696
|  |  | 15.6 | 0.058348 | 25.1057 | 15.6 | 0.058348
|  |  | 15.7 | 0.06 | 25.2667 | 15.7 | 0.06
|  |  | 15.8 | 0.06 | 25.4276 | 15.8 | 0.06
|  |  | 15.9 | 0.06 | 25.5885 | 15.9 | 0.06
|  |  | 16 | 0.06 | 25.7495 | 16 | 0.06
|  |  | 16.1 | 0.06 | 25.9104 | 16.1 | 0.06
|  |  | 16.2 | 0.06 | 26.0714 | 16.2 | 0.06
|  |  | 16.3 | 0.06 | 26.2323 | 16.3 | 0.06
|  |  | 16.4 | 0.06 | 26.3932 | 16.4 | 0.06
|  |  | 16.5 | 0.06 | 26.5542 | 16.5 | 0.06
|  |  | 16.6 | 0.06 | 26.7151 | 16.6 | 0.06
|  |  | 16.7 | 0.06 | 26.876 | 16.7 | 0.06
|  |  | 16.8 | 0.06 | 27.037 | 16.8 | 0.06
|  |  | 16.9 | 0.06 | 27.1979 | 16.9 | 0.06
|  |  | 17 | 0.06 | 27.3588 | 17 | 0.06
|  |  | 17.1 | 0.06 | 27.5198 | 17.1 | 0.06
|  |  | 17.2 | 0.06 | 27.6807 | 17.2 | 0.06
|  |  | 17.3 | 0.06 | 27.8416 | 17.3 | 0.06
|  |  | 17.4 | 0.06 | 28.0026 | 17.4 | 0.06
|  |  | 17.5 | 0.06 | 28.1635 | 17.5 | 0.06
|  |  | 17.6 | 0.06 | 28.3244 | 17.6 | 0.06
|  |  | 17.7 | 0.06 | 28.4854 | 17.7 | 0.06
|  |  | 17.8 | 0.06 | 28.6463 | 17.8 | 0.06
|  |  | 17.9 | 0.06 | 28.8072 | 17.9 | 0.06
|  |  | 18 | 0.062955 | 28.9682 | 18 | 0.062955
|  |  | 18.1 | 0.065909 | 29.1291 | 18.1 | 0.065909
|  |  | 18.2 | 0.068864 | 29.29 | 18.2 | 0.068864
|  |  | 18.3 | 0.071818 | 29.451 | 18.3 | 0.071818
|  |  | 18.4 | 0.074773 | 29.6119 | 18.4 | 0.074773
|  |  | 18.5 | 0.077727 | 29.7728 | 18.5 | 0.077727
|  |  | 18.6 | 0.080682 | 29.9338 | 18.6 | 0.080682
|  |  | 18.7 | 0.083636 | 30.0947 | 18.7 | 0.083636
|  |  | 18.8 | 0.086591 | 30.2556 | 18.8 | 0.086591
|  |  | 18.9 | 0.089545 | 30.4166 | 18.9 | 0.089545
|  |  | 19 | 0.0925 | 30.5775 | 19 | 0.0925
|  |  | 19.1 | 0.095455 | 30.7384 | 19.1 | 0.095455
|  |  | 19.2 | 0.098409 | 30.8994 | 19.2 | 0.098409
|  |  | 19.3 | 0.10136 | 31.0603 | 19.3 | 0.10136
|  |  | 19.4 | 0.10432 | 31.2212 | 19.4 | 0.10432
|  |  | 19.5 | 0.10727 | 31.3822 | 19.5 | 0.10727
|  |  | 19.6 | 0.11023 | 31.5431 | 19.6 | 0.11023
|  |  | 19.7 | 0.11318 | 31.7041 | 19.7 | 0.11318
|  |  | 19.8 | 0.11614 | 31.865 | 19.8 | 0.11614
|  |  | 19.9 | 0.11909 | 32.0259 | 19.9 | 0.11909
|  |  | 20 | 0.12205 | 32.1869 | 20 | 0.12205
|  |  | 20.1 | 0.125 | 32.3478 | 20.1 | 0.125
|  |  | 20.2 | 0.12957 | 32.5087 | 20.2 | 0.12957
|  |  | 20.3 | 0.13413 | 32.6697 | 20.3 | 0.13413
|  |  | 20.4 | 0.1387 | 32.8306 | 20.4 | 0.1387
|  |  | 20.5 | 0.14326 | 32.9915 | 20.5 | 0.14326
|  |  | 20.6 | 0.14783 | 33.1525 | 20.6 | 0.14783
|  |  | 20.7 | 0.15239 | 33.3134 | 20.7 | 0.15239
|  |  | 20.8 | 0.15696 | 33.4743 | 20.8 | 0.15696
|  |  | 20.9 | 0.16152 | 33.6353 | 20.9 | 0.16152
|  |  | 21 | 0.16609 | 33.7962 | 21 | 0.16609
|  |  | 21.1 | 0.17065 | 33.9571 | 21.1 | 0.17065
|  |  | 21.2 | 0.17522 | 34.1181 | 21.2 | 0.17522
|  |  | 21.3 | 0.17978 | 34.279 | 21.3 | 0.17978
|  |  | 21.4 | 0.18435 | 34.4399 | 21.4 | 0.18435
|  |  | 21.5 | 0.18891 | 34.6009 | 21.5 | 0.18891
|  |  | 21.6 | 0.19348 | 34.7618 | 21.6 | 0.19348
|  |  | 21.7 | 0.19804 | 34.9227 | 21.7 | 0.19804
|  |  | 21.8 | 0.20261 | 35.0837 | 21.8 | 0.20261
|  |  | 21.9 | 0.20717 | 35.2446 | 21.9 | 0.20717
|  |  | 22 | 0.21174 | 35.4055 | 22 | 0.21174
|  |  | 22.1 | 0.2163 | 35.5665 | 22.1 | 0.2163
|  |  | 22.2 | 0.22087 | 35.7274 | 22.2 | 0.22087
|  |  | 22.3 | 0.22543 | 35.8883 | 22.3 | 0.22543
|  |  | 22.4 | 0.23 | 36.0493 | 22.4 | 0.23
|  |  | 22.5 | 0.23 | 36.2102 | 22.5 | 0.23
|  |  | 22.6 | 0.23 | 36.3711 | 22.6 | 0.23
|  |  | 22.7 | 0.23 | 36.5321 | 22.7 | 0.23
|  |  | 22.8 | 0.23 | 36.693 | 22.8 | 0.23
|  |  | 22.9 | 0.23 | 36.8539 | 22.9 | 0.23
|  |  | 23 | 0.23 | 37.0149 | 23 | 0.23
|  |  | 23.1 | 0.23 | 37.1758 | 23.1 | 0.23
|  |  | 23.2 | 0.23 | 37.3368 | 23.2 | 0.23
|  |  | 23.3 | 0.23 | 37.4977 | 23.3 | 0.23
|  |  | 23.4 | 0.23 | 37.6586 | 23.4 | 0.23
|  |  | 23.5 | 0.23 | 37.8196 | 23.5 | 0.23
|  |  | 23.6 | 0.23 | 37.9805 | 23.6 | 0.23
|  |  | 23.7 | 0.23 | 38.1414 | 23.7 | 0.23
|  |  | 23.8 | 0.23 | 38.3024 | 23.8 | 0.23
|  |  | 23.9 | 0.23 | 38.4633 | 23.9 | 0.23
|  |  | 24 | 0.23 | 38.6242 | 24 | 0.23
|  |  | 24.1 | 0.23 | 38.7852 | 24.1 | 0.23
|  |  | 24.2 | 0.23 | 38.9461 | 24.2 | 0.23
|  |  | 24.3 | 0.23 | 39.107 | 24.3 | 0.23
|  |  | 24.4 | 0.23 | 39.268 | 24.4 | 0.23
|  |  | 24.5 | 0.23 | 39.4289 | 24.5 | 0.23
|  |  | 24.6 | 0.23 | 39.5898 | 24.6 | 0.23
|  |  | 24.7 | 0.23659 | 39.7508 | 24.7 | 0.23659
|  |  | 24.8 | 0.24318 | 39.9117 | 24.8 | 0.24318
|  |  | 24.9 | 0.24977 | 40.0726 | 24.9 | 0.24977
|  |  | 25 | 0.25636 | 40.2336 | 25 | 0.25636
|  |  | 25.1 | 0.26295 | 40.3945 | 25.1 | 0.26295
|  |  | 25.2 | 0.26955 | 40.5554 | 25.2 | 0.26955
|  |  | 25.3 | 0.27614 | 40.7164 | 25.3 | 0.27614
|  |  | 25.4 | 0.28273 | 40.8773 | 25.4 | 0.28273
|  |  | 25.5 | 0.28932 | 41.0382 | 25.5 | 0.28932
|  |  | 25.6 | 0.29591 | 41.1992 | 25.6 | 0.29591
|  |  | 25.7 | 0.3025 | 41.3601 | 25.7 | 0.3025
|  |  | 25.8 | 0.30909 | 41.521 | 25.8 | 0.30909
|  |  | 25.9 | 0.31568 | 41.682 | 25.9 | 0.31568
|  |  | 26 | 0.32227 | 41.8429 | 26 | 0.32227
|  |  | 26.1 | 0.32886 | 42.0038 | 26.1 | 0.32886
|  |  | 26.2 | 0.33545 | 42.1648 | 26.2 | 0.33545
|  |  | 26.3 | 0.34205 | 42.3257 | 26.3 | 0.34205
|  |  | 26.4 | 0.34864 | 42.4866 | 26.4 | 0.34864
|  |  | 26.5 | 0.35523 | 42.6476 | 26.5 | 0.35523
|  |  | 26.6 | 0.36182 | 42.8085 | 26.6 | 0.36182
|  |  | 26.7 | 0.36841 | 42.9695 | 26.7 | 0.36841
|  |  | 26.8 | 0.375 | 43.1304 | 26.8 | 0.375
|  |  | 26.9 | 0.38174 | 43.2913 | 26.9 | 0.38174
|  |  | 27 | 0.38848 | 43.4523 | 27 | 0.38848
|  |  | 27.1 | 0.39522 | 43.6132 | 27.1 | 0.39522
|  |  | 27.2 | 0.40196 | 43.7741 | 27.2 | 0.40196
|  |  | 27.3 | 0.4087 | 43.9351 | 27.3 | 0.4087
|  |  | 27.4 | 0.41543 | 44.096 | 27.4 | 0.41543
|  |  | 27.5 | 0.42217 | 44.2569 | 27.5 | 0.42217
|  |  | 27.6 | 0.42891 | 44.4179 | 27.6 | 0.42891
|  |  | 27.7 | 0.43565 | 44.5788 | 27.7 | 0.43565
|  |  | 27.8 | 0.44239 | 44.7397 | 27.8 | 0.44239
|  |  | 27.9 | 0.44913 | 44.9007 | 27.9 | 0.44913
|  |  | 28 | 0.45587 | 45.0616 | 28 | 0.45587
|  |  | 28.1 | 0.46261 | 45.2225 | 28.1 | 0.46261
|  |  | 28.2 | 0.46935 | 45.3835 | 28.2 | 0.46935
|  |  | 28.3 | 0.47609 | 45.5444 | 28.3 | 0.47609
|  |  | 28.4 | 0.48283 | 45.7053 | 28.4 | 0.48283
|  |  | 28.5 | 0.48957 | 45.8663 | 28.5 | 0.48957
|  |  | 28.6 | 0.4963 | 46.0272 | 28.6 | 0.4963
|  |  | 28.7 | 0.50304 | 46.1881 | 28.7 | 0.50304
|  |  | 28.8 | 0.50978 | 46.3491 | 28.8 | 0.50978
|  |  | 28.9 | 0.51652 | 46.51 | 28.9 | 0.51652
|  |  | 29 | 0.52326 | 46.6709 | 29 | 0.52326
|  |  | 29.1 | 0.53 | 46.8319 | 29.1 | 0.53
|  |  | 29.2 | 0.53 | 46.9928 | 29.2 | 0.53
|  |  | 29.3 | 0.53 | 47.1537 | 29.3 | 0.53
|  |  | 29.4 | 0.53 | 47.3147 | 29.4 | 0.53
|  |  | 29.5 | 0.53 | 47.4756 | 29.5 | 0.53
|  |  | 29.6 | 0.53 | 47.6365 | 29.6 | 0.53
|  |  | 29.7 | 0.53 | 47.7975 | 29.7 | 0.53
|  |  | 29.8 | 0.53 | 47.9584 | 29.8 | 0.53
|  |  | 29.9 | 0.53 | 48.1193 | 29.9 | 0.53
|  |  | 30 | 0.53 | 48.2803 | 30 | 0.53
|  |  | 30.1 | 0.53 | 48.4412 | 30.1 | 0.53
|  |  | 30.2 | 0.53 | 48.6021 | 30.2 | 0.53
|  |  | 30.3 | 0.53 | 48.7631 | 30.3 | 0.53
|  |  | 30.4 | 0.53 | 48.924 | 30.4 | 0.53
|  |  | 30.5 | 0.53 | 49.085 | 30.5 | 0.53
|  |  | 30.6 | 0.53 | 49.2459 | 30.6 | 0.53
|  |  | 30.7 | 0.53 | 49.4068 | 30.7 | 0.53
|  |  | 30.8 | 0.53 | 49.5678 | 30.8 | 0.53
|  |  | 30.9 | 0.53 | 49.7287 | 30.9 | 0.53
|  |  | 31 | 0.53 | 49.8896 | 31 | 0.53
|  |  | 31.1 | 0.53 | 50.0506 | 31.1 | 0.53
|  |  | 31.2 | 0.53 | 50.2115 | 31.2 | 0.53
|  |  | 31.3 | 0.53 | 50.3724 | 31.3 | 0.53
|  |  | 31.4 | 0.53739 | 50.5334 | 31.4 | 0.53739
|  |  | 31.5 | 0.54478 | 50.6943 | 31.5 | 0.54478
|  |  | 31.6 | 0.55217 | 50.8552 | 31.6 | 0.55217
|  |  | 31.7 | 0.55957 | 51.0162 | 31.7 | 0.55957
|  |  | 31.8 | 0.56696 | 51.1771 | 31.8 | 0.56696
|  |  | 31.9 | 0.57435 | 51.338 | 31.9 | 0.57435
|  |  | 32 | 0.58174 | 51.499 | 32 | 0.58174
|  |  | 32.1 | 0.58913 | 51.6599 | 32.1 | 0.58913
|  |  | 32.2 | 0.59652 | 51.8208 | 32.2 | 0.59652
|  |  | 32.3 | 0.60391 | 51.9818 | 32.3 | 0.60391
|  |  | 32.4 | 0.6113 | 52.1427 | 32.4 | 0.6113
|  |  | 32.5 | 0.6187 | 52.3036 | 32.5 | 0.6187
|  |  | 32.6 | 0.62609 | 52.4646 | 32.6 | 0.62609
|  |  | 32.7 | 0.63348 | 52.6255 | 32.7 | 0.63348
|  |  | 32.8 | 0.64087 | 52.7864 | 32.8 | 0.64087
|  |  | 32.9 | 0.64826 | 52.9474 | 32.9 | 0.64826
|  |  | 33 | 0.65565 | 53.1083 | 33 | 0.65565
|  |  | 33.1 | 0.66304 | 53.2692 | 33.1 | 0.66304
|  |  | 33.2 | 0.67043 | 53.4302 | 33.2 | 0.67043
|  |  | 33.3 | 0.67783 | 53.5911 | 33.3 | 0.67783
|  |  | 33.4 | 0.68522 | 53.752 | 33.4 | 0.68522
|  |  | 33.5 | 0.69261 | 53.913 | 33.5 | 0.69261
|  |  | 33.6 | 0.7 | 54.0739 | 33.6 | 0.7
|  |  | 33.7 | 0.7 | 54.2348 | 33.7 | 0.7
|  |  | 33.8 | 0.7 | 54.3958 | 33.8 | 0.7
|  |  | 33.9 | 0.7 | 54.5567 | 33.9 | 0.7
|  |  | 34 | 0.7 | 54.7177 | 34 | 0.7
|  |  | 34.1 | 0.7 | 54.8786 | 34.1 | 0.7
|  |  | 34.2 | 0.7 | 55.0395 | 34.2 | 0.7
|  |  | 34.3 | 0.7 | 55.2005 | 34.3 | 0.7
|  |  | 34.4 | 0.7 | 55.3614 | 34.4 | 0.7
|  |  | 34.5 | 0.7 | 55.5223 | 34.5 | 0.7
|  |  | 34.6 | 0.7 | 55.6833 | 34.6 | 0.7
|  |  | 34.7 | 0.7 | 55.8442 | 34.7 | 0.7
|  |  | 34.8 | 0.7 | 56.0051 | 34.8 | 0.7
|  |  | 34.9 | 0.7 | 56.1661 | 34.9 | 0.7
|  |  | 35 | 0.7 | 56.327 | 35 | 0.7
|  |  | 35.1 | 0.7 | 56.4879 | 35.1 | 0.7
|  |  | 35.2 | 0.7 | 56.6489 | 35.2 | 0.7
|  |  | 35.3 | 0.7 | 56.8098 | 35.3 | 0.7
|  |  | 35.4 | 0.7 | 56.9707 | 35.4 | 0.7
|  |  | 35.5 | 0.7 | 57.1317 | 35.5 | 0.7
|  |  | 35.6 | 0.7 | 57.2926 | 35.6 | 0.7
|  |  | 35.7 | 0.7 | 57.4535 | 35.7 | 0.7
|  |  | 35.8 | 0.7 | 57.6145 | 35.8 | 0.7
|  |  | 35.9 | 0.70818 | 57.7754 | 35.9 | 0.70818
|  |  | 36 | 0.71636 | 57.9363 | 36 | 0.71636
|  |  | 36.1 | 0.72455 | 58.0973 | 36.1 | 0.72455
|  |  | 36.2 | 0.73273 | 58.2582 | 36.2 | 0.73273
|  |  | 36.3 | 0.74091 | 58.4191 | 36.3 | 0.74091
|  |  | 36.4 | 0.74909 | 58.5801 | 36.4 | 0.74909
|  |  | 36.5 | 0.75727 | 58.741 | 36.5 | 0.75727
|  |  | 36.6 | 0.76545 | 58.9019 | 36.6 | 0.76545
|  |  | 36.7 | 0.77364 | 59.0629 | 36.7 | 0.77364
|  |  | 36.8 | 0.78182 | 59.2238 | 36.8 | 0.78182
|  |  | 36.9 | 0.79 | 59.3847 | 36.9 | 0.79
|  |  | 37 | 0.79818 | 59.5457 | 37 | 0.79818
|  |  | 37.1 | 0.80636 | 59.7066 | 37.1 | 0.80636
|  |  | 37.2 | 0.81455 | 59.8675 | 37.2 | 0.81455
|  |  | 37.3 | 0.82273 | 60.0285 | 37.3 | 0.82273
|  |  | 37.4 | 0.83091 | 60.1894 | 37.4 | 0.83091
|  |  | 37.5 | 0.83909 | 60.3504 | 37.5 | 0.83909
|  |  | 37.6 | 0.84727 | 60.5113 | 37.6 | 0.84727
|  |  | 37.7 | 0.85545 | 60.6722 | 37.7 | 0.85545
|  |  | 37.8 | 0.86364 | 60.8332 | 37.8 | 0.86364
|  |  | 37.9 | 0.87182 | 60.9941 | 37.9 | 0.87182
|  |  | 38 | 0.88 | 61.155 | 38 | 0.88
|  |  | 38.1 | 0.88826 | 61.316 | 38.1 | 0.88826
|  |  | 38.2 | 0.89652 | 61.4769 | 38.2 | 0.89652
|  |  | 38.3 | 0.90478 | 61.6378 | 38.3 | 0.90478
|  |  | 38.4 | 0.91304 | 61.7988 | 38.4 | 0.91304
|  |  | 38.5 | 0.9213 | 61.9597 | 38.5 | 0.9213
|  |  | 38.6 | 0.92957 | 62.1206 | 38.6 | 0.92957
|  |  | 38.7 | 0.93783 | 62.2816 | 38.7 | 0.93783
|  |  | 38.8 | 0.94609 | 62.4425 | 38.8 | 0.94609
|  |  | 38.9 | 0.95435 | 62.6034 | 38.9 | 0.95435
|  |  | 39 | 0.96261 | 62.7644 | 39 | 0.96261
|  |  | 39.1 | 0.97087 | 62.9253 | 39.1 | 0.97087
|  |  | 39.2 | 0.97913 | 63.0862 | 39.2 | 0.97913
|  |  | 39.3 | 0.98739 | 63.2472 | 39.3 | 0.98739
|  |  | 39.4 | 0.99565 | 63.4081 | 39.4 | 0.99565
|  |  | 39.5 | 1.0039 | 63.569 | 39.5 | 1.0039
|  |  | 39.6 | 1.0122 | 63.73 | 39.6 | 1.0122
|  |  | 39.7 | 1.0204 | 63.8909 | 39.7 | 1.0204
|  |  | 39.8 | 1.0287 | 64.0518 | 39.8 | 1.0287
|  |  | 39.9 | 1.037 | 64.2128 | 39.9 | 1.037
|  |  | 40 | 1.0452 | 64.3737 | 40 | 1.0452
|  |  | 40.1 | 1.0535 | 64.5346 | 40.1 | 1.0535
|  |  | 40.2 | 1.0617 | 64.6956 | 40.2 | 1.0617
|  |  | 40.3 | 1.07 | 64.8565 | 40.3 | 1.07
|  |  | 40.4 | 1.07 | 65.0174 | 40.4 | 1.07
|  |  | 40.5 | 1.07 | 65.1784 | 40.5 | 1.07
|  |  | 40.6 | 1.07 | 65.3393 | 40.6 | 1.07
|  |  | 40.7 | 1.07 | 65.5002 | 40.7 | 1.07
|  |  | 40.8 | 1.07 | 65.6612 | 40.8 | 1.07
|  |  | 40.9 | 1.07 | 65.8221 | 40.9 | 1.07
|  |  | 41 | 1.07 | 65.9831 | 41 | 1.07
|  |  | 41.1 | 1.07 | 66.144 | 41.1 | 1.07
|  |  | 41.2 | 1.07 | 66.3049 | 41.2 | 1.07
|  |  | 41.3 | 1.07 | 66.4659 | 41.3 | 1.07
|  |  | 41.4 | 1.07 | 66.6268 | 41.4 | 1.07
|  |  | 41.5 | 1.07 | 66.7877 | 41.5 | 1.07
|  |  | 41.6 | 1.07 | 66.9487 | 41.6 | 1.07
|  |  | 41.7 | 1.07 | 67.1096 | 41.7 | 1.07
|  |  | 41.8 | 1.07 | 67.2705 | 41.8 | 1.07
|  |  | 41.9 | 1.07 | 67.4315 | 41.9 | 1.07
|  |  | 42 | 1.07 | 67.5924 | 42 | 1.07
|  |  | 42.1 | 1.07 | 67.7533 | 42.1 | 1.07
|  |  | 42.2 | 1.07 | 67.9143 | 42.2 | 1.07
|  |  | 42.3 | 1.07 | 68.0752 | 42.3 | 1.07
|  |  | 42.4 | 1.07 | 68.2361 | 42.4 | 1.07
|  |  | 42.5 | 1.07 | 68.3971 | 42.5 | 1.07
|  |  | 42.6 | 1.0759 | 68.558 | 42.6 | 1.0759
|  |  | 42.7 | 1.0818 | 68.7189 | 42.7 | 1.0818
|  |  | 42.8 | 1.0877 | 68.8799 | 42.8 | 1.0877
|  |  | 42.9 | 1.0936 | 69.0408 | 42.9 | 1.0936
|  |  | 43 | 1.0995 | 69.2017 | 43 | 1.0995
|  |  | 43.1 | 1.1055 | 69.3627 | 43.1 | 1.1055
|  |  | 43.2 | 1.1114 | 69.5236 | 43.2 | 1.1114
|  |  | 43.3 | 1.1173 | 69.6845 | 43.3 | 1.1173
|  |  | 43.4 | 1.1232 | 69.8455 | 43.4 | 1.1232
|  |  | 43.5 | 1.1291 | 70.0064 | 43.5 | 1.1291
|  |  | 43.6 | 1.135 | 70.1673 | 43.6 | 1.135
|  |  | 43.7 | 1.1409 | 70.3283 | 43.7 | 1.1409
|  |  | 43.8 | 1.1468 | 70.4892 | 43.8 | 1.1468
|  |  | 43.9 | 1.1527 | 70.6501 | 43.9 | 1.1527
|  |  | 44 | 1.1586 | 70.8111 | 44 | 1.1586
|  |  | 44.1 | 1.1645 | 70.972 | 44.1 | 1.1645
|  |  | 44.2 | 1.1705 | 71.1329 | 44.2 | 1.1705
|  |  | 44.3 | 1.1764 | 71.2939 | 44.3 | 1.1764
|  |  | 44.4 | 1.1823 | 71.4548 | 44.4 | 1.1823
|  |  | 44.5 | 1.1882 | 71.6158 | 44.5 | 1.1882
|  |  | 44.6 | 1.1941 | 71.7767 | 44.6 | 1.1941
|  |  | 44.7 | 1.2 | 71.9376 | 44.7 | 1.2
|  |  | 44.8 | 1.2013 | 72.0986 | 44.8 | 1.2013
|  |  | 44.9 | 1.2026 | 72.2595 | 44.9 | 1.2026
|  |  | 45 | 1.2039 | 72.4204 | 45 | 1.2039
|  |  | 45.1 | 1.2052 | 72.5814 | 45.1 | 1.2052
|  |  | 45.2 | 1.2065 | 72.7423 | 45.2 | 1.2065
|  |  | 45.3 | 1.2078 | 72.9032 | 45.3 | 1.2078
|  |  | 45.4 | 1.2091 | 73.0642 | 45.4 | 1.2091
|  |  | 45.5 | 1.2104 | 73.2251 | 45.5 | 1.2104
|  |  | 45.6 | 1.2117 | 73.386 | 45.6 | 1.2117
|  |  | 45.7 | 1.213 | 73.547 | 45.7 | 1.213
|  |  | 45.8 | 1.2143 | 73.7079 | 45.8 | 1.2143
|  |  | 45.9 | 1.2157 | 73.8688 | 45.9 | 1.2157
|  |  | 46 | 1.217 | 74.0298 | 46 | 1.217
|  |  | 46.1 | 1.2183 | 74.1907 | 46.1 | 1.2183
|  |  | 46.2 | 1.2196 | 74.3516 | 46.2 | 1.2196
|  |  | 46.3 | 1.2209 | 74.5126 | 46.3 | 1.2209
|  |  | 46.4 | 1.2222 | 74.6735 | 46.4 | 1.2222
|  |  | 46.5 | 1.2235 | 74.8344 | 46.5 | 1.2235
|  |  | 46.6 | 1.2248 | 74.9954 | 46.6 | 1.2248
|  |  | 46.7 | 1.2261 | 75.1563 | 46.7 | 1.2261
|  |  | 46.8 | 1.2274 | 75.3172 | 46.8 | 1.2274
|  |  | 46.9 | 1.2287 | 75.4782 | 46.9 | 1.2287
|  |  | 47 | 1.23 | 75.6391 | 47 | 1.23
|  |  | 47.1 | 1.23 | 75.8 | 47.1 | 1.23
|  |  | 47.2 | 1.23 | 75.961 | 47.2 | 1.23
|  |  | 47.3 | 1.23 | 76.1219 | 47.3 | 1.23
|  |  | 47.4 | 1.23 | 76.2828 | 47.4 | 1.23
|  |  | 47.5 | 1.23 | 76.4438 | 47.5 | 1.23
|  |  | 47.6 | 1.23 | 76.6047 | 47.6 | 1.23
|  |  | 47.7 | 1.23 | 76.7656 | 47.7 | 1.23
|  |  | 47.8 | 1.23 | 76.9266 | 47.8 | 1.23
|  |  | 47.9 | 1.23 | 77.0875 | 47.9 | 1.23
|  |  | 48 | 1.23 | 77.2485 | 48 | 1.23
|  |  | 48.1 | 1.23 | 77.4094 | 48.1 | 1.23
|  |  | 48.2 | 1.23 | 77.5703 | 48.2 | 1.23
|  |  | 48.3 | 1.23 | 77.7313 | 48.3 | 1.23
|  |  | 48.4 | 1.23 | 77.8922 | 48.4 | 1.23
|  |  | 48.5 | 1.23 | 78.0531 | 48.5 | 1.23
|  |  | 48.6 | 1.23 | 78.2141 | 48.6 | 1.23
|  |  | 48.7 | 1.23 | 78.375 | 48.7 | 1.23
|  |  | 48.8 | 1.23 | 78.5359 | 48.8 | 1.23
|  |  | 48.9 | 1.23 | 78.6969 | 48.9 | 1.23
|  |  | 49 | 1.23 | 78.8578 | 49 | 1.23
|  |  | 49.1 | 1.23 | 79.0187 | 49.1 | 1.23
|  |  | 49.2 | 1.23 | 79.1797 | 49.2 | 1.23
|  |  | 49.3 | 1.2286 | 79.3406 | 49.3 | 1.2286
|  |  | 49.4 | 1.2273 | 79.5015 | 49.4 | 1.2273
|  |  | 49.5 | 1.2259 | 79.6625 | 49.5 | 1.2259
|  |  | 49.6 | 1.2245 | 79.8234 | 49.6 | 1.2245
|  |  | 49.7 | 1.2232 | 79.9843 | 49.7 | 1.2232
|  |  | 49.8 | 1.2218 | 80.1453 | 49.8 | 1.2218
|  |  | 49.9 | 1.2205 | 80.3062 | 49.9 | 1.2205
|  |  | 50 | 1.2191 | 80.4671 | 50 | 1.2191
|  |  | 50.1 | 1.2177 | 80.6281 | 50.1 | 1.2177
|  |  | 50.2 | 1.2164 | 80.789 | 50.2 | 1.2164
|  |  | 50.3 | 1.215 | 80.9499 | 50.3 | 1.215
|  |  | 50.4 | 1.2136 | 81.1109 | 50.4 | 1.2136
|  |  | 50.5 | 1.2123 | 81.2718 | 50.5 | 1.2123
|  |  | 50.6 | 1.2109 | 81.4327 | 50.6 | 1.2109
|  |  | 50.7 | 1.2095 | 81.5937 | 50.7 | 1.2095
|  |  | 50.8 | 1.2082 | 81.7546 | 50.8 | 1.2082
|  |  | 50.9 | 1.2068 | 81.9155 | 50.9 | 1.2068
|  |  | 51 | 1.2055 | 82.0765 | 51 | 1.2055
|  |  | 51.1 | 1.2041 | 82.2374 | 51.1 | 1.2041
|  |  | 51.2 | 1.2027 | 82.3983 | 51.2 | 1.2027
|  |  | 51.3 | 1.2014 | 82.5593 | 51.3 | 1.2014
|  |  | 51.4 | 1.2 | 82.7202 | 51.4 | 1.2
|  |  | 51.5 | 1.2 | 82.8811 | 51.5 | 1.2
|  |  | 51.6 | 1.2 | 83.0421 | 51.6 | 1.2
|  |  | 51.7 | 1.2 | 83.203 | 51.7 | 1.2
|  |  | 51.8 | 1.2 | 83.364 | 51.8 | 1.2
|  |  | 51.9 | 1.2 | 83.5249 | 51.9 | 1.2
|  |  | 52 | 1.2 | 83.6858 | 52 | 1.2
|  |  | 52.1 | 1.2 | 83.8468 | 52.1 | 1.2
|  |  | 52.2 | 1.2 | 84.0077 | 52.2 | 1.2
|  |  | 52.3 | 1.2 | 84.1686 | 52.3 | 1.2
|  |  | 52.4 | 1.2 | 84.3296 | 52.4 | 1.2
|  |  | 52.5 | 1.2 | 84.4905 | 52.5 | 1.2
|  |  | 52.6 | 1.2 | 84.6514 | 52.6 | 1.2
|  |  | 52.7 | 1.2 | 84.8124 | 52.7 | 1.2
|  |  | 52.8 | 1.2 | 84.9733 | 52.8 | 1.2
|  |  | 52.9 | 1.2 | 85.1342 | 52.9 | 1.2
|  |  | 53 | 1.2 | 85.2952 | 53 | 1.2
|  |  | 53.1 | 1.2 | 85.4561 | 53.1 | 1.2
|  |  | 53.2 | 1.2 | 85.617 | 53.2 | 1.2
|  |  | 53.3 | 1.2 | 85.778 | 53.3 | 1.2
|  |  | 53.4 | 1.2 | 85.9389 | 53.4 | 1.2
|  |  | 53.5 | 1.2 | 86.0998 | 53.5 | 1.2
|  |  | 53.6 | 1.2 | 86.2608 | 53.6 | 1.2
|  |  | 53.7 | 1.2 | 86.4217 | 53.7 | 1.2
|  |  | 53.8 | 1.1977 | 86.5826 | 53.8 | 1.1977
|  |  | 53.9 | 1.1955 | 86.7436 | 53.9 | 1.1955
|  |  | 54 | 1.1932 | 86.9045 | 54 | 1.1932
|  |  | 54.1 | 1.1909 | 87.0654 | 54.1 | 1.1909
|  |  | 54.2 | 1.1886 | 87.2264 | 54.2 | 1.1886
|  |  | 54.3 | 1.1864 | 87.3873 | 54.3 | 1.1864
|  |  | 54.4 | 1.1841 | 87.5482 | 54.4 | 1.1841
|  |  | 54.5 | 1.1818 | 87.7092 | 54.5 | 1.1818
|  |  | 54.6 | 1.1795 | 87.8701 | 54.6 | 1.1795
|  |  | 54.7 | 1.1773 | 88.031 | 54.7 | 1.1773
|  |  | 54.8 | 1.175 | 88.192 | 54.8 | 1.175
|  |  | 54.9 | 1.1727 | 88.3529 | 54.9 | 1.1727
|  |  | 55 | 1.1705 | 88.5138 | 55 | 1.1705
|  |  | 55.1 | 1.1682 | 88.6748 | 55.1 | 1.1682
|  |  | 55.2 | 1.1659 | 88.8357 | 55.2 | 1.1659
|  |  | 55.3 | 1.1636 | 88.9967 | 55.3 | 1.1636
|  |  | 55.4 | 1.1614 | 89.1576 | 55.4 | 1.1614
|  |  | 55.5 | 1.1591 | 89.3185 | 55.5 | 1.1591
|  |  | 55.6 | 1.1568 | 89.4795 | 55.6 | 1.1568
|  |  | 55.7 | 1.1545 | 89.6404 | 55.7 | 1.1545
|  |  | 55.8 | 1.1523 | 89.8013 | 55.8 | 1.1523
|  |  | 55.9 | 1.15 | 89.9623 | 55.9 | 1.15
|  |  | 56 | 1.1476 | 90.1232 | 56 | 1.1476
|  |  | 56.1 | 1.1452 | 90.2841 | 56.1 | 1.1452
|  |  | 56.2 | 1.1428 | 90.4451 | 56.2 | 1.1428
|  |  | 56.3 | 1.1404 | 90.606 | 56.3 | 1.1404
|  |  | 56.4 | 1.138 | 90.7669 | 56.4 | 1.138
|  |  | 56.5 | 1.1357 | 90.9279 | 56.5 | 1.1357
|  |  | 56.6 | 1.1333 | 91.0888 | 56.6 | 1.1333
|  |  | 56.7 | 1.1309 | 91.2497 | 56.7 | 1.1309
|  |  | 56.8 | 1.1285 | 91.4107 | 56.8 | 1.1285
|  |  | 56.9 | 1.1261 | 91.5716 | 56.9 | 1.1261
|  |  | 57 | 1.1237 | 91.7325 | 57 | 1.1237
|  |  | 57.1 | 1.1213 | 91.8935 | 57.1 | 1.1213
|  |  | 57.2 | 1.1189 | 92.0544 | 57.2 | 1.1189
|  |  | 57.3 | 1.1165 | 92.2153 | 57.3 | 1.1165
|  |  | 57.4 | 1.1141 | 92.3763 | 57.4 | 1.1141
|  |  | 57.5 | 1.1117 | 92.5372 | 57.5 | 1.1117
|  |  | 57.6 | 1.1093 | 92.6981 | 57.6 | 1.1093
|  |  | 57.7 | 1.107 | 92.8591 | 57.7 | 1.107
|  |  | 57.8 | 1.1046 | 93.02 | 57.8 | 1.1046
|  |  | 57.9 | 1.1022 | 93.1809 | 57.9 | 1.1022
|  |  | 58 | 1.0998 | 93.3419 | 58 | 1.0998
|  |  | 58.1 | 1.0974 | 93.5028 | 58.1 | 1.0974
|  |  | 58.2 | 1.095 | 93.6637 | 58.2 | 1.095
|  |  | 58.3 | 1.095 | 93.8247 | 58.3 | 1.095
|  |  | 58.4 | 1.095 | 93.9856 | 58.4 | 1.095
|  |  | 58.5 | 1.095 | 94.1465 | 58.5 | 1.095
|  |  | 58.6 | 1.095 | 94.3075 | 58.6 | 1.095
|  |  | 58.7 | 1.095 | 94.4684 | 58.7 | 1.095
|  |  | 58.8 | 1.095 | 94.6294 | 58.8 | 1.095
|  |  | 58.9 | 1.095 | 94.7903 | 58.9 | 1.095
|  |  | 59 | 1.095 | 94.9512 | 59 | 1.095
|  |  | 59.1 | 1.095 | 95.1122 | 59.1 | 1.095
|  |  | 59.2 | 1.095 | 95.2731 | 59.2 | 1.095
|  |  | 59.3 | 1.095 | 95.434 | 59.3 | 1.095
|  |  | 59.4 | 1.095 | 95.595 | 59.4 | 1.095
|  |  | 59.5 | 1.095 | 95.7559 | 59.5 | 1.095
|  |  | 59.6 | 1.095 | 95.9168 | 59.6 | 1.095
|  |  | 59.7 | 1.095 | 96.0778 | 59.7 | 1.095
|  |  | 59.8 | 1.095 | 96.2387 | 59.8 | 1.095
|  |  | 59.9 | 1.095 | 96.3996 | 59.9 | 1.095
|  |  | 60 | 1.095 | 96.5606 | 60 | 1.095
|  |  | 60.1 | 1.095 | 96.7215 | 60.1 | 1.095
|  |  | 60.2 | 1.095 | 96.8824 | 60.2 | 1.095
|  |  | 60.3 | 1.095 | 97.0434 | 60.3 | 1.095
|  |  | 60.4 | 1.095 | 97.2043 | 60.4 | 1.095
|  |  | 60.5 | 1.0925 | 97.3652 | 60.5 | 1.0925
|  |  | 60.6 | 1.09 | 97.5262 | 60.6 | 1.09
|  |  | 60.7 | 1.0875 | 97.6871 | 60.7 | 1.0875
|  |  | 60.8 | 1.085 | 97.848 | 60.8 | 1.085
|  |  | 60.9 | 1.0825 | 98.009 | 60.9 | 1.0825
|  |  | 61 | 1.08 | 98.1699 | 61 | 1.08
|  |  | 61.1 | 1.0775 | 98.3308 | 61.1 | 1.0775
|  |  | 61.2 | 1.075 | 98.4918 | 61.2 | 1.075
|  |  | 61.3 | 1.0725 | 98.6527 | 61.3 | 1.0725
|  |  | 61.4 | 1.07 | 98.8136 | 61.4 | 1.07
|  |  | 61.5 | 1.0675 | 98.9746 | 61.5 | 1.0675
|  |  | 61.6 | 1.065 | 99.1355 | 61.6 | 1.065
|  |  | 61.7 | 1.0625 | 99.2964 | 61.7 | 1.0625
|  |  | 61.8 | 1.06 | 99.4574 | 61.8 | 1.06
|  |  | 61.9 | 1.0575 | 99.6183 | 61.9 | 1.0575
|  |  | 62 | 1.055 | 99.7792 | 62 | 1.055
|  |  | 62.1 | 1.0525 | 99.9402 | 62.1 | 1.0525
|  |  | 62.2 | 1.05 | 100.1011 | 62.2 | 1.05
|  |  | 62.3 | 1.0475 | 100.2621 | 62.3 | 1.0475
|  |  | 62.4 | 1.045 | 100.423 | 62.4 | 1.045
|  |  | 62.5 | 1.0425 | 100.5839 | 62.5 | 1.0425
|  |  | 62.6 | 1.04 | 100.7449 | 62.6 | 1.04
|  |  | 62.7 | 1.0378 | 100.9058 | 62.7 | 1.0378
|  |  | 62.8 | 1.0357 | 101.0667 | 62.8 | 1.0357
|  |  | 62.9 | 1.0335 | 101.2277 | 62.9 | 1.0335
|  |  | 63 | 1.0313 | 101.3886 | 63 | 1.0313
|  |  | 63.1 | 1.0291 | 101.5495 | 63.1 | 1.0291
|  |  | 63.2 | 1.027 | 101.7105 | 63.2 | 1.027
|  |  | 63.3 | 1.0248 | 101.8714 | 63.3 | 1.0248
|  |  | 63.4 | 1.0226 | 102.0323 | 63.4 | 1.0226
|  |  | 63.5 | 1.0204 | 102.1933 | 63.5 | 1.0204
|  |  | 63.6 | 1.0183 | 102.3542 | 63.6 | 1.0183
|  |  | 63.7 | 1.0161 | 102.5151 | 63.7 | 1.0161
|  |  | 63.8 | 1.0139 | 102.6761 | 63.8 | 1.0139
|  |  | 63.9 | 1.0117 | 102.837 | 63.9 | 1.0117
|  |  | 64 | 1.0096 | 102.9979 | 64 | 1.0096
|  |  | 64.1 | 1.0074 | 103.1589 | 64.1 | 1.0074
|  |  | 64.2 | 1.0052 | 103.3198 | 64.2 | 1.0052
|  |  | 64.3 | 1.003 | 103.4807 | 64.3 | 1.003
|  |  | 64.4 | 1.0009 | 103.6417 | 64.4 | 1.0009
|  |  | 64.5 | 0.9987 | 103.8026 | 64.5 | 0.9987
|  |  | 64.6 | 0.99652 | 103.9635 | 64.6 | 0.99652
|  |  | 64.7 | 0.99435 | 104.1245 | 64.7 | 0.99435
|  |  | 64.8 | 0.99217 | 104.2854 | 64.8 | 0.99217
|  |  | 64.9 | 0.99 | 104.4463 | 64.9 | 0.99
|  |  | 65 | 0.99 | 104.6073 | 65 | 0.99
|  |  | 65.1 | 0.99 | 104.7682 | 65.1 | 0.99
|  |  | 65.2 | 0.99 | 104.9291 | 65.2 | 0.99
|  |  | 65.3 | 0.99 | 105.0901 | 65.3 | 0.99
|  |  | 65.4 | 0.99 | 105.251 | 65.4 | 0.99
|  |  | 65.5 | 0.99 | 105.4119 | 65.5 | 0.99
|  |  | 65.6 | 0.99 | 105.5729 | 65.6 | 0.99
|  |  | 65.7 | 0.99 | 105.7338 | 65.7 | 0.99
|  |  | 65.8 | 0.99 | 105.8948 | 65.8 | 0.99
|  |  | 65.9 | 0.99 | 106.0557 | 65.9 | 0.99
|  |  | 66 | 0.99 | 106.2166 | 66 | 0.99
|  |  | 66.1 | 0.99 | 106.3776 | 66.1 | 0.99
|  |  | 66.2 | 0.99 | 106.5385 | 66.2 | 0.99
|  |  | 66.3 | 0.99 | 106.6994 | 66.3 | 0.99
|  |  | 66.4 | 0.99 | 106.8604 | 66.4 | 0.99
|  |  | 66.5 | 0.99 | 107.0213 | 66.5 | 0.99
|  |  | 66.6 | 0.99 | 107.1822 | 66.6 | 0.99
|  |  | 66.7 | 0.99 | 107.3432 | 66.7 | 0.99
|  |  | 66.8 | 0.99 | 107.5041 | 66.8 | 0.99
|  |  | 66.9 | 0.99 | 107.665 | 66.9 | 0.99
|  |  | 67 | 0.99 | 107.826 | 67 | 0.99
|  |  | 67.1 | 0.99 | 107.9869 | 67.1 | 0.99